RISK ASSESSMENT FORM	Management of Health and Safety at Work Regulations 1999

| Activity title: Brief description: | USING NIKON ECLIPSE C1si CONFOCAL MICROSCOPE Normal use of Nikon Eclipse Confocal Microscope. |
| --- | --- |
| Location: | 226 |
| Significant hazards: | 1. Laser Exposure 2. UV Exposure 3. Minor cuts from broken slides or coverslips |
| Who might be exposed to the hazards: | Confocal microscope users No. Of people: 1-2 Frequency of exposure: infrequent Duration: Two hours or less |
| Hazard control measures: | Only trained users are permitted to use the equipment. The laser beam is contained within a sealed enclosure and fibre-optic cabling during normal operation. UV light is contained within a sealed enclosure and fibre-optic cabling during normal operation. |
| Protective equipment: |  |

Are risks adequately controlled:		YES/NO	Yes

| Additional measures required: | None |
| --- | --- |
| Completed by: Supervisor: | Name: Ian Clark Signed: Date: Name: Signed: Date: |

| Reviewed: | Name: | Signed: | Date: |
| --- | --- | --- | --- |

GUIDANCE NOTES ON COMPLETING THE RISK ASSESSMENT FORM

Significant hazards.

- Only list those that you could reasonably expect to cause significant injuries or affect other people.

- Will the work require the use of machines and tools, how can you or anybody else be injured, will it be significant?

- Will the work require the use of chemicals?  Check safety data sheet for harmful effects and exposure limits.

- Will the work produce any fumes, vapours, dust or particles; can they cause significant harm?

- Are there any significant hazards due to the location of the work, confined space, mixed use, other equipment or inadequate design?

Who might be exposed?

- Remember to include yourself, your supervisor and others who might be passing through the area.

- Those more vulnerable or less experienced must be identified.  Pregnant women and those with medical conditions must be identified.

- How frequently is this work carried out?  How many people could be exposed?

Existing control measures.

- List the methods used to limit exposure e.g. fume hoods, containment cabinets, etc.

- Ensure that use of such equipment is maintained by training and Standard Operating Procedures.

Personal Protective Equipment

- Laboratory coats, gloves, eye protection, etc.

Are the risks adequately controlled?

- With all the measures in place are there hazards that still pose significant risk?

- Personal judgement may be needed for who does the work, when and where it is carried out.

Additional controls.

- Are there special additional control measures that can reduce risk?

- Are there adequate controls for servicing the work area?  Permits to work should be issued to all maintenance and service personnel.

- Are there identifiable procedures to handle emergencies if all else fails?

- Is this risk assessment incorporated into the emergency procedures of the Department?

Review this risk assessment within 12 months or whenever there is an accident or incident.

Submit a copy to the Safety Officer.